## Result sheet
Method name: Method 1
Application: SparkControl |  |  |  | V3.2
Device: Spark |  |  |  | Serial number: 2408005988
Firmware: |  |  |  | LUM:V5.2.4¦ABS:V6.2.0¦ABS_MEX:V7.1.0¦MTP:V14.3.3¦FLUOR:V7.0.0¦FLUOR_FP:V7.2.1¦FLUOR_BOTTOM:V7.2.1¦FLUOR_MEM:V7.1.0¦FLUOR_MEX:V7.1.0¦INJ:V3.1.1¦PODI:V3.0.3
Date: |  |  |  | 2024-10-16
Time: |  |  |  | 10:57 AM
System |  |  |  | DESKTOP-AG2JL5F
User |  |  |  | DESKTOP-AG2JL5F\Rathbun Lab
Plate |  |  |  | [NUN96fb_LumiNunc FluoroNunc] - Thermo Fisher Scientific-Nunclon 96 Flat Black Cat. No.: 437869/437958
Lid lifter |  |  |  | No lid
Humidity Cassette |  |  |  | No humidity cassette
Smooth mode |  |  |  | Not selected
List of actions in this measurement script:
Plate
| Luminescence |  |  |  |  | Label 1
Part of Plate
|  | Luminescence scan |  |  |  | Label 2
Name |  |  |  | NUN96fb_LumiNunc FluoroNunc
Plate layout
Plate area |  |  |  | A1-F12
Mode | Luminescence
Name | Label 1
Attenuation |  |  |  | Automatic
Attenuation color |  |  |  | OD0 | OD1
Settle time [ms] |  |  |  | 0
Integration time [ms] |  |  |  | 1000
Output |  |  |  | Counts / s
Part of Plate |  |  |  | A1-F12
Start Time |  |  |  | 2024-10-16 10:51:35
Temperature [°C] |  |  |  | 25.8
<> | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 40 | 72 | 113 | 48 | 13 | 4 | 56 | 37 | 106 | 36 | 23 | 18
B | 158 | 107 | 215 | 157 | 51 | 61 | 185 | 130 | 284 | 121 | 75 | 53
C | 31940631 | 33075708 | 26336394 | 32511037 | 4127632 | 1355 | 40773709 | 36013421 | 36667255 | 36771088 | 4288901 | 1423
D | 25053753 | 25838700 | 28818516 | 28571282 | 2610382 | 1325 | 37901249 | 36894963 | 47282263 | 44353784 | 2731855 | 1388
E | 822915 | 832015 | 1903474 | 286141 | 44631 | 79 | 968991 | 959989 | 2782636 | 318278 | 47702 | 92
F | 6768970 | 5061305 | 13014810 | 3379654 | 99147 | 175 | 7868523 | 6004451 | 15153914 | 3847080 | 109158 | 191
G
H
End Time |  |  |  | 2024-10-16 10:53:24
Mode | Luminescence scan
Name | Label 2
Central wavelength start [nm] |  |  |  | 398
Central wavelength end [nm] |  |  |  | 653
Settle time [ms] |  |  |  | 0
Integration time [ms] |  |  |  | 1000
Output |  |  |  | Counts / s
Corrected spectra
Part of Plate |  |  |  | D1-D12
Start Time |  |  |  | 2024-10-16 10:53:26
Temperature [°C] |  |  |  | 25.8
[5 empty] | Tamra86 | [5 empty] | Tamra86
Wavel. | D1 | D2 | D3 | D4 | D5 | D6 | D7 | D8 | D9 | D10 | D11 | D12
398 | 92661 | 81925 | 60752 | 57715 | 2639 | 14 | 35531 | 35816 | 28445 | 34794 | 2248 | 19
413 | 609090 | 528203 | 403050 | 374801 | 12546 | 39 | 235589 | 233336 | 186444 | 226931 | 10318 | 33
428 | 1689813 | 1449614 | 1119048 | 1030388 | 32746 | 94 | 658831 | 640806 | 521234 | 625948 | 26789 | 98
443 | 2743469 | 2331755 | 1827382 | 1670924 | 53185 | 152 | 1080155 | 1041355 | 854849 | 1021651 | 43726 | 175
458 | 2842982 | 2405619 | 1902230 | 1732173 | 55336 | 164 | 1125410 | 1081186 | 893879 | 1063132 | 45751 | 156
473 | 2433734 | 2051724 | 1630338 | 1486718 | 48238 | 152 | 977203 | 932694 | 776194 | 919673 | 39973 | 129
488 | 1586027 | 1334237 | 1066257 | 970417 | 32084 | 95 | 642184 | 611849 | 510683 | 603518 | 26419 | 98
503 | 1189349 | 1000062 | 804273 | 729873 | 24477 | 77 | 486835 | 463507 | 387950 | 459668 | 20547 | 72
518 | 706792 | 592642 | 476062 | 433154 | 14910 | 42 | 290063 | 276227 | 230976 | 273160 | 12505 | 44
533 | 359178 | 300343 | 241872 | 221077 | 9995 | 6 | 148901 | 140440 | 118263 | 139804 | 8194 | 21
548 | 228120 | 190477 | 153887 | 140260 | 36087 | 9 | 94882 | 89864 | 75294 | 89299 | 29854 | 16
563 | 130697 | 108578 | 88134 | 79614 | 175275 | 15 | 54075 | 51591 | 43315 | 51263 | 143920 | 17
578 | 84405 | 70252 | 57322 | 51774 | 424791 | 8 | 35459 | 33544 | 28181 | 32947 | 348083 | 8
593 | 43987 | 36740 | 29865 | 26768 | 603230 | 6 | 18215 | 17415 | 14667 | 17588 | 498421 | 4
608 | 27840 | 22663 | 18782 | 17081 | 513179 | 11 | 11747 | 10805 | 9288 | 10942 | 425803 | 9
623 | 17495 | 14531 | 11587 | 10781 | 362775 | 0 | 7454 | 6752 | 5768 | 6963 | 301985 | 2
638 | 12388 | 10059 | 8106 | 7688 | 270140 | 4 | 4969 | 5055 | 4056 | 4931 | 224650 | 12
653 | 11262 | 9092 | 7418 | 7092 | 203821 | 7 | 4685 | 4529 | 3828 | 4668 | 169842 | 8
End Time | D4: 2024-10-16 10:57:38